How to Create and Maintain a Keratin-Free Environment

Ideally, you should have the following laboratory equipment that is dedicated to proteomics.  Regularly clean off your equipment with water and methanol (at least weekly).

1) Laminar Flow Hood or plastic shield

2) Pipettes

3) Pipette tips (filter tips are preferable). Label tip bags as "keratin-free" and     “gloves only.”

4) Centrifuge

5) Microfuge tubes (again, label bags as "keratin-free" and “gloves only”)

6) Incubator or heat block

7) Vortex with attachment to hold microcentrifuge tubes

8) Proteomics dedicated glassware-no detergents if possible

9) Speedvac and/or lyophilizer

Keep a Clean Benchtop

Clean your workspace and pipettes with water and methanol at least weekly.

Handle Your Samples with Care

Always wear clean gloves. When opening tubes, aim them away from your face and do not touch the lip inside of the lid with your fingers.

Gels

We recommend the use of pre-cast gels. If casting your own gels, make certain your reagents are of highest quality. Wipe glass plates with ethanol and cover if not used immediately. When staining, use nanopure (milliQ) water and staining boxes that are thoroughly cleaned and rinsed. We recommend the use of dedicated staining boxes and generally find a methanol wash followed by nanopure water to be sufficient. Rinse gloves prior to use as some contain residue that can be left on the gel. Try not to touch gels and, if necessary, touch only areas of the gels that do not contain protein. When imaging, place plastic wrap on the imaging screen and on top of the gel. When excising protein bands or spots, use clean (new if possible) razor blades. Commercial spot cutters (robotic and manual) are also available. To avoid cross contamination, either use a clean blade for each protein, or rinse blade with methanol and wipe with a paper towel. If possible, perform behind a shield.